## Slide 1
LM741
100k
1.8k
CHEST 2
CHEST 1
10M
1.8k
RIGHT LEG
BATT (+)
BATT (-)
BATT (-)
DIY ECG
single op-amp version
by Scott Harden
www.SWHarden.com
other
op-amps
like LM324
work also
L
R
G
TO PC
1.8k
BATT (+)
Output is rich in 60Hz noise, but when sharply low-pass filtered to around 45Hz the ECG becomes very clear.
Use a 9V battery, *NOT* a power supply.
Full theory, schematics, software, electrode information, tips, and videos are at www.SWHarden.com
LEGAL: This schematic is for educational purposes only. Do not attach this device to any person or animal. Do not attach any animal to any person either. That’s weird.